MPBio FastDNA Spin Kit Protocol

Materials:
L-	Pipettes /Tips
-	Gloves
-	Small-tip sharpie
-	DNA Source (Your samples)
-	FastDNA Spin Kits
Components:
Lysing Matrix A
Binding Matrix
Concentrated SEWS-M
DES
CLS-VF
PPS
CLS-TC
CLS-Y
Spin Modules
Catch Tubes

See inside the Spin Kit box for the official protocol. Read through it several times, making notes, until you know what is going on.

Overview:

-Mix sample with a buffer that helps split cells open and them beat those cells with beads until they are pulp
-Centrifuge the suspended cell pulp so all the crap goes to the bottom of the tube and the DNA stays suspended
-Mix the DNA suspension with binding buffer that DNA sticks to
-Wash the bound DNA through a filter that all the crap passes through, but the bound DNA stays behind in
-Rinse the bound DNA that's stuck on the filter
-Dry it off well
-Pull the cleaned DNA out of the filter

Typically, we follow the following protocol:

1.	Thaw all your samples (if frozen) in a nice row.
2.	Label the following for each sample (see image):
-	Lysing Matrix Tube
-	2.0mL tube (x2)
-	Spin filter tube
3.	Using one 1000uL pipette tip, add 1000uL of CLS-Y solution to each of the binding matrix tubes you have set up.
4.	Add up to 200uL of your sample that you want to extract. We mainly use this kit for liquid samples. If you have soil, you should be using a soil-specific kit.
5.	Close up the lid firmly.
6.	Insert your lysing matrix tubes with ~1200uL of combined CLS-Y and sample solution into the bead beater, making totally sure that the machine is balanced in all axes. Best way to ensure this is to beat 16 samples at once.
7.	Secure the tubes properly and run the bead beater for 1.5min (more for tough sample sources)
8.	Move the tubes to the centrifuge and spin at 14,000 RCF for 5-10 minutes to pellet debris. Make sure the centrifuge is balanced.
9.	Shake the Binding Matrix well (it settles fast!) and transfer 800uL of it to a clean row of labeled 2mL tubes.
10.	Without disurbing the pellet, transfer 800uL of the DNA supernatant to the tubes you just added binding matrix to. Cap them and gently mix. Let them sit for 5 minutes at room temperature. This milky mixture should now have a bunch of tiny beads covered in DNA, but it also has impurities floating around.
11.	Add 800uL of this mixture to a labeled spin filter tube (into the filter insert). Cap it, and centrifuge for 1 min at 14,000 RCF.
12.	Carefully pull out the tube and hold it while pouring out the liquid that passed through into the tube. Just pour the liquid into a sink or recepticle.
13.	Put the filter back into the spin filter tube.
14.	Add another 800 uL of the DNA supernatant (from step 10) and repeat steps 11-13.
15.	Repeat again until all the bound DNA from step 10 has passed through the filter.
16.	*Be sure that ethanol has been added to the concentrated SEWS-M solution as indicated on the bottle before proceeding!
17.	Add 500uL of the SEWS-M mixture to the spin filter and GENTLY resuspend the pellet using the force of the pipette liquid. Be gentle about this! Don't splash it. That white bead foam sitting in the filter basket has all of your DNA in it!
18.	Centrifuge at 14,000 RCF for 1 minute and discard the liquid flow-through as before. This is rinsing the DNA that is bound to the beads.
19.	Place the filter basket back into the spin tube and cap it again. Now, spin at 14,000 RCF for 2 minutes. This is drying the DNA that is bound to the beads. SEWS-M has ethanol in it, and we have to make sure that it's ALL dried off before proceeding.
20.	Transfer the spin filter basket to a new clean sterile tube that is LABELED.
21.	Gently, ever so gently, suspend the DNA bead stuff in 100uL of DES solution. Cap it and incubate at 45deg C for 6 minutes.
22.	Centrifuge at 500 RCF for 30 seconds and then at 14,000 RCF for 1 minute.
23.	This time, the liquid is DNA. Do not throw out the liquid! Throw out the spin filter and cap the tube. Label it super well and stick it in the freezer.